CONDITION BASED ASSESSMENT

QUICK SCANNING REPORT

SBUM DIAGNOSTIC JOHOR

TNB BAHAGIAN PEMBAHAGIAN JOHOR

| FUNCTIONAL LOCATION (ERMS) | : | JJBU/PCE/K00191 |
| --- | --- | --- |
| FUNCTIONAL LOCATION (SITE) | : | JJBU/PCE/K00191 |
| SUBSTATION NAME (ERMS) | : | O/D KG MAJU JAYA NO.1 |
| SUBSTATION NAME (SITE) | : | PE O/DOOR KG MAJU JAYA # 1 |
| COORDINATE | : | 1.583366, 103.718120 |
| SUBSTATION TYPE | : | PCE |
| AREA | : | JOHOR BAHRU |
| STATE | : | JOHOR |
| PO | : | 42234207 |
| DATE | : | 14 JUL 2026 |
| SCANNED BY |  |  |
| THERMOGRAPHY | : | MUHAMMAD OMAR RIDZUAN (2013MY20N010) |
| EQUIPMENT/TOOLS |  |  |
| THERMOGRAPHY | : | FLIR T640 (SN 55912229) (CALIBRATION DUE DATE: 26 DEC 2026) |
| PREPARED BY |  |  |
| NAME OF CONTRACTOR | : | EET ENGINEERING SERVICES SDN BHD |
| ADDRESS | : | NO.38, JALAN SS19/1D, |
|  | : | 47500, SUBANG JAYA, SELANGOR. |
| SUBSTATION SIGNBOARD |  |  |

visual defect Summary

| NO. | EQUIPMENT | DEFECT DESCRIPTION | ELECTRICAL | NON-ELECTRICAL |
| --- | --- | --- | --- | --- |
| 1 | RUBBER MAT | NO RUBBER MAT |  | X |

SUBSTATION CONDITION

| SUBSTATION OVERVIEW |  | SIGNBOARD |
| --- | --- | --- |
| SWITCHGEAR |  | SWITCHGEAR NAMEPLATE |
| TRANSFORMER 1 |  | TRANSFORMER 1 NAMEPLATE |

SUBSTATION CONDITION

| TRANSFORMER 2 |  | TRANSFORMER 2 NAMEPLATE |
| --- | --- | --- |
| N/A |  | N/A |
| FEEDER PILLAR TX1 |  | FEEDER PILLAR TX1 NAMEPLATE |
|  |  | N/A |
| FEEDER PILLAR TX2 |  | FEEDER PILLAR TX2 NAMEPLATE |
| N/A |  | N/A |

SUBSTATION CONDITION

| EFI |  | SF6 INDICATOR |
| --- | --- | --- |
| BATTERY |  | BATTERY NAMEPLATE |
| N/A |  | N/A |
| FIRE EXTINGUISHER |  | FIRE EXTINGUISHER NAMEPLATE |

SUBSTATION CONDITION

| SWITCHGEAR PANEL NAME |  | LAST PREVENTIVE MAINTENANCE |
| --- | --- | --- |

VISUAL DEFECT

| RUBBER MAT |  |  |
| --- | --- | --- |
| NO RUBBER MAT |  |  |

NORMAL/DEFECT STICKER

| NORMAL STICKER |  |  |
| --- | --- | --- |